## Sheet1
SPECIFICATIONS: Automated, nucleic acid extractor/platform | TICK REQUIREMENTS
Physical instrument specifications
Benchtop platform | √
Built-in UV lamp for decontamination | √
Automation / User interface/Capacity
Fully automated (from pretreatment to elution) | √
Low to medium throughput (1-24 sample extraction, extract minimum of 1 sample per run without reagent wastage; NOT 96-well based) | √
Technology / Operation
Must be able to purify total nucleic acids from a variety of sample types including CSF, blood, respiratory and other body fluids | √
Magnetic bead purification | √
Prefilled reagent cartridge for individual (single) sample extraction | √
Filter tips to be used to avoid contamination | √
Barcode scanner | √
ADDITIONAL REQUIREMENTS
Full installation of instrument | √
Provide user training | √
Min 1 year warranty on parts and labour | √
Operating software for the instrument | √
Electronic voltage SA compliant | √
Approved by Mignon du Plessis: Date: 27 FEB 2025