## Cover Page
NATIONAL HEALTH LABORATORY SERVICE
RENOVATIONS TO NHLS THAMBO MEMORIAL LABORATORY
THAMBO MEMORIAL HOSPITAL : BOKSBURG
GAUTENG REGION

## Preliminaries (hidden)
Item No | Description | UoM | Quantity | Rate | Amount
Bill No.1
PRELIMINARIES

## Demolitions (hidden)
Item No | Description | UoM | Quantity | Rate | Amount
Bill No.2

## BoQ (2) (hidden)
| Details | UoM | Qty | Rate | Amount
Supply and Deliver the following cleaning items
1 | Floor Cleaner Chemical suitable for walkbeinded cleaner (No Foam) | Litres | 20
2 | Dromax Green Nitrile gloves | Box | 2
3 | Mop heads | No | 10
4 | Trolley Buckets | No | 6
5 | Flat mops | No | 10
6 | Round mops | No | 2
7 | Carpet shampoo | Litres | 20
Total
Vat @ 15%
Total incl Vat

## BoQ
Description | UoM | Quantity | Rate | Amount
BILL NO 01
SPECIMEN RECEPTION & DR'S COMPUTER AREA
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
1600 x 2032mm Timber double doors including ironmongery | No | 2
813 x 2032mm Timber single doors including ironmongery | No | 2
Taking out and removing timber finishes
Existing melamine workstation benches in various diameters wide with steel frame | m | 20
Melamine cabinet size 1000mm x 1000mm | No | 1
Taking out and removing steel members
1600mm x 2032mm steel gate | No | 1
Cabinet size 500mm x 300mm | No | 10
Taking out and removing sundry items
1100mm x 800mm pin board | No | 5
500mm x 250mm sign board | No | 1
Taking out and removing electrical items
Fluorescent Lght fittings including holder | No | 2
Taking out and removing grid ceilings
Grid ceilings including steel work and prepare area to receive new ceiling | m2 | 50
Taking out and removing aluminium glass shopfront
Aluminium shopfront | m2 | 10
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 50
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 120
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 20
CARPENTRY AND JOINERY
Work Benches
Steel powder coated square tubing frames 32mm x 900mm wide x 750mm on standing height as per specification | m | 20
Edged 25mm thick x 700mm wide long maxcompact resistance white top | m | 20
Under bench Cupboards
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 10
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with drawers lockable as per specification | No | 5
Wall mounted Cupboards
Steel powder coated wall mounted cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 5
Wall Shelving
Steel powder coated wall bandshelving against wall, wall bandupright to be 800mm apart mounted with 10mm ramset | m | 10
White melamine 16mm x 500mm deep shelving brackets finish with wrap around edging as per specification | m | 10
FLOOR COVERINGS,WALL LININGS,ETC
Classic mystique PUR vinyl sheeting with welded joints (Maintainance free) as per specification. Vinyl sheeting to go up 120mm high against walls including cove fillet and capping | m2 | 50
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 3
Door Stops
Union or similar approved buffered door stop | No | 2
Coat hooks
Stainless Steel Wall-Mounted Lab Coat Hook rack 2000mm long | No | 1
METALWORK
Note: All dimensions to be checked on site prior to construction. Clear silicone joints between door frames and brickwork. Aluminium frames shall be factory wrapped in protective plastic covering and shall be removed once building works are complete
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable double door prehung in frame 1600mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 2
Powder coated glass top aluminium panel bottom stable double door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
Shopfront
Powder coated aluminium shopfront size 5000mm x 800mm high with 6mm glass pane, suitable for coastal and inland installation | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 200
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 15
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 4
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 15
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 5
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 5
CEILINGS, PARTITIONS AND ACCESS FLOORING
600mm x 600mm x 15mm "Gyproc celotex white"pre- painted acoustic panels or similar approved product on exposed suspension grid system including hangers necessary hold-down clips and wedges
Ceilings suspended not exceeding 1m below co | m2 | 80
Rondo pre-painted galvanised steel cornice
Shadowline wall angle trip,plugged | m | 200
SUNDRIES
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 15
Notice Board
Bulletin Board Aluminium Frame 1800mm x 900mm
Gates
Trellidor Retractable sliding security gates size 1700mm x 2032mm high, white in colour | No | 1
Carried to Summary
BILL NO 02
ARCHIVE ROOM
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
813 x 2032mm Timber single doors including ironmongery | No | 1
Existing melamine workstation bench 600mm wide with steel frame | m | 15
800mm x 800mm pin board | No | 1
Fluorescent LIght fittings including holder | No | 1
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 15
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 60
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 10
CARPENTRY AND JOINERY
Wall Shelving
Steel powder coated wall bandshelving against wall, wall bandupright to be 800mm apart mounted with 10mm ramset | m | 10
White melamine 16mm x 500mm deep shelving brackets finish with wrap around edging as per specification | m | 10
FLOOR COVERINGS,WALL LININGS,ETC
Classic mystique PUR vinyl sheeting with welded joints (Maintainance free) as per specification. Vinyl sheeting to go up 120mm high against walls including cove fillet and capping | m2 | 15
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 1
Door Stops
Union or similar approved buffered door stop | No | 1
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable single door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 50
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 1
Carried to summary
BILL NO 03
ADMINISTRATION OFFICE
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing grid ceilings
Grid ceilings including steel work and prepare area to receive new ceiling | m2 | 60
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
813 x 2032mm Timber single doors including ironmongery | No | 2
Taking out and removing plumbing and drainage items (building up openings and making good finishes measured elsewhere)
Basin including mixer, including splashbacks | No | 1
Taking out and removing
Existing melamine workstation benches in various widths with steel frame and dividers | m | 40
Taking out and removing
Pin board | No | 10
Taking out and removing
Fluorescent LIght fittings including holder | No | 10
Taking out and removing
Steel Cabinets | No | 10
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 60
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 100
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 10
CARPENTRY AND JOINERY
Work Benches
Steel powder coated square tubing frames 32mm x 750mm wide x 700mm on standing height as per specification | m | 50
Edged 25mm thick x 750mm wide long maxcompact resistance white top | m | 50
Powder coated aluminium work bench divider size 600mm x700mm high at 600mm centres, with 6mm frosted glass with NHLS logo, | No | 50
Under bench Cupboards
Steel powder coated under bench cupboards 700mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 20
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with drawers lockable as per specification | No | 20
Wall mounted Cupboards
Steel powder coated wall mounted cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 20
Wall Shelving
Steel powder coated wall bandshelving against wall, wall bandupright to be 800mm apart mounted with 10mm ramset | m | 15
White melamine 16mm x 500mm deep shelving brackets finish with wrap around edging as per specification | m | 15
FLOOR COVERINGS,WALL LININGS,ETC
Classic mystique PUR vinyl sheeting with welded joints (Maintainance free) as per specification. Vinyl sheeting to go up 120mm high against walls including cove fillet and capping | m2 | 100
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 2
Door Stops
Union or similar approved buffered door stop | No | 2
Coat hook
Stainless Steel Wall-Mounted Lab Coat Hook rack 2000mm long | No | 1
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable single door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 2
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 120
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 20
CEILINGS, PARTITIONS AND ACCESS FLOORING
600mm x 600mm x 15mm "Gyproc celotex white"pre- painted acoustic panels or similar approved product on exposed suspension grid system including hangers necessary hold-down clips and wedges
Ceilings suspended not exceeding 1m below co | m2 | 100
Rondo pre-painted galvanised steel cornice
Shadowline wall angle trip,plugged | m | 150
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 10
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 40
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 10
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 5
SUNDRIES
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 30
Carried to summary
BILL NO 04
PATHOLOGIST OFFICE
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing grid ceilings
Grid ceilings including steel work and prepare area to receive new ceiling | m2 | 25
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
1600mm x 2032mm aluminium sliding door including ironmongery | No | 1
Taking out and removing
Existing melamine workstation benches with steel frame | m | 5
Taking out and removing sundries
800mm x 800mm pin board | No | 1
Taking out and removing electrical items
Fluorescent LIght fittings including holder | No | 2
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 25
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 75
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 25
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 10
CARPENTRY AND JOINERY
Work Benches
Steel powder coated square tubing frames 32mm x 800mm wide x 750mm on standing height as per specification | m | 10
Edged 25mm thick x 700mm wide long maxcompact resistance white top | m | 10
Under bench Cupboards
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 2
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with drawers lockable as per specification | No | 1
Wall mounted Cupboards
Steel powder coated wall mounted cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 2
Wall Shelving
Steel powder coated wall bandshelving against wall, wall bandupright to be 800mm apart mounted with 10mm ramset | m | 5
White melamine 16mm x 500mm deep shelving brackets finish with wrap around edging as per specification | m | 5
FLOOR COVERINGS,WALL LININGS,ETC
Laminate
7mm wide plank with a moisture-resistant organic substrate, a self-closing tongue-and-groove profile, and a moisture-repellent edge seal laminate flooring | m2 | 25
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 1
Door Stops
Union or similar approved buffered door stop | No | 1
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated aluminium sliding door size 1490mm x 2090mm prehung in frame, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 75
CEILINGS, PARTITIONS AND ACCESS FLOORING
600mm x 600mm x 15mm "Gyproc celotex white"pre- painted acoustic panels or similar approved product on exposed suspension grid system including hangers necessary hold-down clips and wedges
Ceilings suspended not exceeding 1m below co | m2 | 25
Rondo pre-painted galvanised steel cornice
Shadowline wall angle trip,plugged | m | 150
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 10
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 2
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 5
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 3
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 1
SUNDRIES
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 15
Carried to summary
BILL NO 05
MANAGERS OFFICE
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
813 x 2032mm Timber single doors including ironmongery | No | 1
Taking out and removing sundry items
800mm x 800mm pin board | No | 1
Taking out and removing electrical items
Fluorescent LIght fittings including holder | No | 2
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 25
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 75
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 25
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 10
CARPENTRY AND JOINERY
Work Benches
Steel powder coated square tubing frames 32mm x 800mm wide x 750mm on standing height as per specification | m | 10
Edged 25mm thick x 700mm wide long maxcompact resistance white top | m | 10
Under bench Cupboards
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 1
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with drawers lockable as per specification | No | 1
Wall mounted Cupboards
Steel powder coated wall mounted cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 2
Wall Shelving
Steel powder coated wall bandshelving against wall, wall bandupright to be 800mm apart mounted with 10mm ramset | m | 5
White melamine 16mm x 500mm deep shelving brackets finish with wrap around edging as per specification | m | 5
FLOOR COVERINGS,WALL LININGS,ETC
Laminate
7mm wide plank with a moisture-resistant organic substrate, a self-closing tongue-and-groove profile, and a moisture-repellent edge seal laminate flooring | m2 | 25
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 1
Door Stops
Union or similar approved buffered door stop | No | 1
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable single door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
CEILINGS, PARTITIONS AND ACCESS FLOORING
600mm x 600mm x 15mm "Gyproc celotex white"pre- painted acoustic panels or similar approved product on exposed suspension grid system including hangers necessary hold-down clips and wedges
Ceilings suspended not exceeding 1m below co | m2 | 25
Rondo pre-painted galvanised steel cornice
Shadowline wall angle trip,plugged | m | 30
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 75
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 15
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 2
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 5
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 3
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 1
SUNDRIES
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 10
Carried to summary
BILL NO 06
BOARD ROOM
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
813mm x 2032mm timber single doors including ironmongery | No | 1
Fluorescent LIght fittings including holder | No | 4
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 20
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 60
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 20
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 10
CARPENTRY AND JOINERY
Kitchen Cupboards
Supply and fit new melamine underbench cupboards 900mm wide x 750mm with doors hinges and handles colour to be discussed on appointment | No | 3
Supply and fit new melamine underbench cupboards 450mm wide x 698mm with drawers and handles colour to be discussed on appointment | No | 3
Supply and fit 16mm x 600mm wide kitchen granite top to the kitchen area | m | 10
FLOOR COVERINGS,WALL LININGS,ETC
Laminate
7mm wide plank with a moisture-resistant organic substrate, a self-closing tongue-and-groove profile, and a moisture-repellent edge seal laminate flooring | m2 | 25
CEILINGS, PARTITIONS AND ACCESS FLOORING
600mm x 600mm x 15mm "Gyproc celotex white"pre- painted acoustic panels or similar approved product on exposed suspension grid system including hangers necessary hold-down clips and wedges
Ceilings suspended not exceeding 1m below co | m2 | 20
Rondo pre-painted galvanised steel cornice
Shadowline wall angle trip,plugged | m | 30
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 1
Door Stops
Union or similar approved buffered door stop | No | 1
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable single door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 60
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 10
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 3
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 5
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 3
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 1
SUNDRIES
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 15
Carried to summary
BILL NO 07
MAIN LAB
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Breaking Down and carting away of site
Timber walls with glazing and timber doors | m2 | 36
Taking out and removing, decommissioning all electrical points and plugs
Existing walkin fridge including doors | No | 1
Taking out and removing doors,
Existing melamine workstation benches at various depths with steel frame including under counter cupboards | m | 60
Taking out and removing electrical items, prepare surfaces to receive new items elsewhere measured
Fluorescent LIght fittings including holder | No | 10
Taking out and removing plumbing items, prepare surfaces and connections to receive new items elsewhere measured
Wash hand Basins including mixer | No | 2
Steel Sink incl mixer | No | 1
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 200
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internally painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 150
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 50
CARPENTRY AND JOINERY
Work Benches
Steel powder coated square tubing frames 32mm x 700mm wide x 750mm on standing height as per specification | m | 25
Edged 25mm thick x 700mm wide long maxcompact resistance white top | m | 25
Steel powder coated square tubing frames 32mm x 800mm wide x 750mm on standing height as per specification | m | 15
Edged 25mm thick x 800mm wide long maxcompact resistance white top | m | 15
Steel powder coated square tubing frames 32mm x 900mm wide x 750mm on standing height as per specification | m | 10
Edged 25mm thick x 900mm wide long maxcompact resistance white top | m | 10
Under bench Cupboards
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 20
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with drawers lockable as per specification | No | 10
Wall mounted Cupboards
Steel powder coated wall mounted cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 10
DOORS,ETC
Fire Doors
813mm x 2032mm Class A fire rated hardboard door, 1 hour fire rated, with door prehung in stainless steel frame with stainless steel hinges, hinged on the left side suitable for painting. Steel frame to be suitable for a 230mm , 1.6mm mild steel with 25mm x 50mm rebates & red oxide primer including all associated ironmongery | No | 1
CELINGS, PARTITIONS AND ACCESS FLOORING
600mm x 600mm x 15mm "Gyproc celotex white"pre- painted acoustic panels or similar approved product on exposed suspension grid system including hangers necessary hold-down clips and wedges
Ceilings suspended not exceeding 1m below co | m2 | 100
Rondo pre-painted galvanised steel cornice
Shadowline wall angle trip,plugged | m | 50
FLOOR COVERINGS,WALL LININGS,ETC
Classic mystique PUR vinyl sheeting with welded joints (Maintainance free) as per specification. Vinyl sheeting to go up 120mm high against walls including cove fillet and capping | m2 | 200
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 4
Door Stops
Union or similar approved buffered door stop | No | 4
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable single door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 5
Cubicle
Powder coated glass top aluminium panel bottom cubicle size 4000mm x 3000mm x 2600mm high including aluminium door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 4
PLUMBING AND DRAINAGE
Basin
Supply and fit new ceramic hand wash basin including cobra swivel mixer taps connect to hot and cold water supply and drainage basin must be half way sunken in to stone type top | No | 2
Supply and fit 32mm x 600mm stone type mable top granite on support stand heavy duty wallmounted steel brackets and 50mm chrome legs | No | 2
Supply and fit 32mm x 250mm side cover stone type mable (granite) | No | 2
Sink
Supply and fit new stainless steel sink including cobra medical swivel mixer taps connect to hot and cold water supply and drainage basin must be fully sunken in to work bench | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 200
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 30
ELECTRICAL
Light Fittings
1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 15
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 40
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 20
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 10
MECHANICAL
Mounted fan filter unit equiped with three stage filtration system i.e. primary plated filter, carbon filter and a suitably sized double inlet centrifugal fan unit must consist of an extraction | No | 1
SUNDRIES
Frosting
Window Film Self Adhesive Peel and Stick Tint - frost | m2 | 50
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 50
Carried to summary
BILL NO. 08
TOILET - WASH AREA
ALTERATIONS (PROVISIONAL)
REMOVAL OF EXISTING WORK
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing sanitary fittings and vanity, including disconnecting piping from fittings and making good floor and wall finishes
Wash hand Basin incl mixer | No | 1
Cistern | No | 1
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new porcelain tile etc (new finish elsewhere measured) | m2 | 10
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Ceremic tile covering including preparing walls for new tile etc (new finish elsewhere measured) | m2 | 20
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 60
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 20
TILING
PORCELAIN FLOOR COVERINGS, WALL LINNINGS, ETC
Porcelain floor tiling
600mm x 600mm x 12mm full bodied porcelain tiles laid TAL gold star tile adhesive or similar approved product, white grout and soft joints of 3mm raked clean of the tile adhesive and filled with polyurethane sealant (grey colour). Allow for the prime cost amount of R 500-00 (Five hundred rand excluding VAT) net per square metre for tiles, supplied and delivered to site and add for taking delivery, storage and installation.
On screeded floors | m2 | 20
600mm x 600mm x 12mm full bodied porcelain tiles laid TAL gold star tile adhesive or similar approved product, white grout and soft joints of 3mm raked clean of the tile adhesive and filled with polyurethane sealant (grey colour). Allow for the prime cost amount of R 500-00 (Five hundred rand excluding VAT) net per square metre for tiles, supplied and delivered to site and add for taking delivery, storage and installation.
On Walls full height | m2 | 60
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 1
Door Stops
Union or similar approved buffered door stop | No | 1
Cabin hooks
Union approved or similar approved cabin hook | No | 1
Letters,Nameplates
75 x 150mm high aluminium toilet sign with MALE and/or FEMALE figure screwed to wall. | No | 1
Toilet Roll holder
Franke 145mm x 75mm polished stainless steel toilet roll holder or any similar approved product | No | 1
Bin
Franke 18 L Wall mounted stainless steel bin | No | 1
Paper towel dispensor
Franke stainless steel folded towel dispensor | No | 1
PLUMBING AND DRAINAGE
Basin
Supply and fit new ceramic hand wash basin including cobra swivel mixer taps connect to hot and cold water supply and drainage basin must be half way sunken in to stone type top | No | 1
Supply and fit 32mm x 600mm stone type mable top granite on support stand heavy duty wallmounted steel brackets and 50mm chrome legs | No | 1
Supply and fit 32mm x 250mm side cover stone type mable (granite) | No | 1
GLAZING
TOPS,SHELVES,DOORS,MIRRORS,ETC
Mirror 1000mm x 500mm high including four CP screw caps plugged to wall | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment
Underside soffits of slabs | m2 | 20
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 5
PAINT ON WOOD
Prepare, stop and apply one coat pink wood primer, one coat universal undercoat and two coats "plascon'non drip enamel or similar approved products:
Existing timber Doors and frames | m2 | 4
CARPENTRY AND JOINERY
Doors
813mm x 2032mm timber door including hinges and indicator bolt | No | 1
ELECTRICAL
Light Switches
Replace existing light switches in the exact positions with classic 6 lever steel switches | No | 1
Supply and install 4t waterproof light fittings as per specification | No | 1
MECHANICAL
Spply and install 12 inch industrial window extractor fan to the toilet connected to the light switch | No | 1
SUNDRIES
Frosting
Window Film Self Adhesive Peel and Stick Tint - frost | m2 | 10
Carried to Summary
BILL NO. 09
WASH AREA - NEW TOILET
ALTERATIONS (PROVISIONAL)
REMOVAL OF EXISTING WORK
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing carpentry and joinery items, plumbing and drainage items including disconnecting piping from fittings and making good floor and wall finishes
Kitchen BIC including sink and mixer | No | 1
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new porcelain tile etc (new finish elsewhere measured) | m2 | 10
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Ceremic tile covering including preparing walls for new tile etc (new finish elsewhere measured) | m2 | 5
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 50
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 15
TILING
PORCELAIN FLOOR COVERINGS, WALL LINNINGS, ETC
Porcelain floor tiling
600mm x 600mm x 12mm full bodied porcelain tiles laid TAL gold star tile adhesive or similar approved product, white grout and soft joints of 3mm raked clean of the tile adhesive and filled with polyurethane sealant (grey colour). Allow for the prime cost amount of R 500-00 (Five hundred rand excluding VAT) net per square metre for tiles, supplied and delivered to site and add for taking delivery, storage and installation.
On screeded floors | m2 | 15
600mm x 600mm x 12mm full bodied porcelain tiles laid TAL gold star tile adhesive or similar approved product, white grout and soft joints of 3mm raked clean of the tile adhesive and filled with polyurethane sealant (grey colour). Allow for the prime cost amount of R 500-00 (Five hundred rand excluding VAT) net per square metre for tiles, supplied and delivered to site and add for taking delivery, storage and installation.
On Walls full height | m2 | 60
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 2
Door Stops
Union or similar approved buffered door stop | No | 2
Cabin hooks
Union approved or similar approved cabin hook | No | 1
Letters,Nameplates
75 x 150mm high aluminium toilet sign with MALE and/or FEMALE figure screwed to wall. | No | 1
Toilet Roll holder
Franke 145mm x 75mm polished stainless steel toilet roll holder or any similar approved product | No | 1
Bin
Franke 18 L Wall mounted stainless steel bin | No | 1
Paper towel dispensor
Franke stainless steel folded towel dispensor | No | 1
PLUMBING AND DRAINAGE
Basin
Supply and fit new ceramic hand wash basin including cobra swivel mixer taps connect to hot and cold water supply and drainage basin must be half way sunken in to stone type top | No | 1
Supply and fit 32mm x 600mm stone type mable top granite on support stand heavy duty wallmounted steel brackets and 50mm chrome legs | No | 1
Supply and fit 32mm x 250mm side cover stone type mable (granite) | No | 1
GLAZING
TOPS,SHELVES,DOORS,MIRRORS,ETC
Mirror 1000mm x 500mm high including four CP screw caps plugged to wall | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment
Underside soffits of slabs | m2 | 20
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 5
PAINT ON WOOD
Prepare, stop and apply one coat pink wood primer, one coat universal undercoat and two coats "plascon'non drip enamel or similar approved products:
Existing timber Doors and frames | m2 | 10
CARPENTRY AND JOINERY
Doors
813mm x 2032mm timber door including hinges and indicator bolt | No | 1
ELECTRICAL
Light Switches
Replace existing light switches in the exact positions with classic 6 lever steel switches | No | 1
Supply and install 4t waterproof light fittings as per specification | No | 1
MECHANICAL
Spply and install 12 inch industrial window extractor fan to the toilet connected to the light switch | No | 1
SUNDRIES
Frosting
Window Film Self Adhesive Peel and Stick Tint - frost | m2 | 10
Carried to Summary
BILL NO 10
LADIES - NEW OFFICE
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
813 x 2032mm Timber single doors including ironmongery | No | 1
Taking out and removing sundry items
800mm x 800mm pin board | No | 1
Taking out and removing electrical items
Fluorescent LIght fittings including holder | No | 2
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 25
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 75
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 25
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 10
CARPENTRY AND JOINERY
Work Benches
Steel powder coated square tubing frames 32mm x 800mm wide x 750mm on standing height as per specification | m | 10
Edged 25mm thick x 700mm wide long maxcompact resistance white top | m | 10
Under bench Cupboards
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 1
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with drawers lockable as per specification | No | 1
Wall mounted Cupboards
Steel powder coated wall mounted cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 2
Wall Shelving
Steel powder coated wall bandshelving against wall, wall bandupright to be 800mm apart mounted with 10mm ramset | m | 5
White melamine 16mm x 500mm deep shelving brackets finish with wrap around edging as per specification | m | 5
FLOOR COVERINGS,WALL LININGS,ETC
Laminate
7mm wide plank with a moisture-resistant organic substrate, a self-closing tongue-and-groove profile, and a moisture-repellent edge seal laminate flooring | m2 | 25
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 1
Door Stops
Union or similar approved buffered door stop | No | 1
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable single door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
CEILINGS, PARTITIONS AND ACCESS FLOORING
600mm x 600mm x 15mm "Gyproc celotex white"pre- painted acoustic panels or similar approved product on exposed suspension grid system including hangers necessary hold-down clips and wedges
Ceilings suspended not exceeding 1m below co | m2 | 25
Rondo pre-painted galvanised steel cornice
Shadowline wall angle trip,plugged | m | 30
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 75
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 15
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 2
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 5
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 3
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 1
SUNDRIES
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 10
Carried to summary
BILL NO 11
TEA ROOM - STORAGE
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
1600 x 1900mm Timber single doors including ironmongery | No | 1
Taking out and removing electrical fittings
Fluorescent lIght fittings including holder | No | 3
Taking out and removing carpentry and joinery items
Kitchen BIC includin g sink and mixer | No | 1
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 20
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 100
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 20
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 10
CARPENTRY AND JOINERY
Wall Shelving
Steel powder coated wall bandshelving against wall, wall bandupright to be 800mm apart mounted with 10mm ramset | m | 50
White melamine 16mm x 500mm deep shelving brackets finish with wrap around edging as per specification | m | 50
FLOOR COVERINGS,WALL LININGS,ETC
Classic mystique PUR vinyl sheeting with welded joints (Maintainance free) as per specification. Vinyl sheeting to go up 120mm high against walls including cove fillet and capping | m2 | 20
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 1
Door Stops
Union or similar approved buffered door stop | No | 1
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable single door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 80
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 10
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 4
SUNDRIES
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 10
Rack
3 x Racking Light Duty 3 Ton ¦ Frame – 2000(H)mm x 450(D)mm x 1500mm (W) | No | 5
Carried to summary
BILL NO 12
STORAGE
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
1600 x 1900mm Timber double door including ironmongery | No | 1
Taking out and removing electrical fittings
Fluorescent lIght fittings including holder | No | 4
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 30
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 100
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 30
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 10
FLOOR COVERINGS,WALL LININGS,ETC
Classic mystique PUR vinyl sheeting with welded joints (Maintainance free) as per specification. Vinyl sheeting to go up 120mm high against walls including cove fillet and capping | m2 | 30
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 1
Door Stops
Union or similar approved buffered door stop | No | 1
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable double door prehung in frame 1600mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 80
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 10
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 4
SUNDRIES
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 15
Rack
3 x Racking Light Duty 3 Ton ¦ Frame – 2000(H)mm x 450(D)mm x 1500mm (W) | No | 5
Carried to summary
BILL NO. 13
SUPERVISOR OFFICE-WALKIN FRIDGE
ALTERATIONS (PROVISIONAL)
REMOVAL OF EXISTING WORK
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing carpentry items
813mm x 2032mm timber door | No | 1
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new porcelain tile etc (new finish elsewhere measured) | m2 | 20
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 60
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 20
CHROMODECK (ISO)
Supply and install walk-in fridge room complete with, chromadeck panels(ISO panels), gauge above door, for room size, 4500mm x 4300mm x 2500mm high(18m) | No | 1
Supply and fit new door complete with door with safety handle, door closer, one pre-wired vapor proof light fixture, light switch with pilot light, dial thermometer, manual internal lock override, chrome plated cam lift hinges, and chrome plated door latches with strike. Doors on outdoor walk-ins shall have weather protected light switch and door drip cap | No | 1
Supply and install new Equipped for 2 -8°c operating temp, Condensing Unit with Time Clock on all Units 220v Electric defrost evaporator coil; • R404A with 3x fan blowers’ inside and compressor/ condensing unit outside) the unit should match the below spec or similar complete with indoor and outdoor units, suitable to cool 25m2 room Model: DL – 4.3/20 | No | 1
Capacity: 4.28 KW
Motor Voltage : 220V
Defrosting Power : 1.5 KW
Area of Heat Transfer: 20m square
Electric Pipe Voltage : 220 V
VINYL FLOORING
Remove the existing vinyl flooring, Prepare floor and allow for moisture barrier and to smooth finish self-levelling, supply and install 2mm Eclipse Purr or classic mystique Purr or Mipolam Atlas vinyl sheeting with welded joints(maintenance free) as per specification, vinyl must go 120mm high against the wall including cove fillet an d capping | m2 | 25
ELECTRICAL WORKS
Supply and install adequate power supply from distribution board to compressor unit with isolator next to unit, including circuit breakers, isolators, trunking, cable tray where necessary | Item | 1
Supply and fit 5ft waterproof double tube fluorescent light fitting with diffuser complete with light switch | No | 1
Supply and install digital and probe for alarming purposes, NHLS will arrange for alarming company to connect the alarm to their system | Item | 1
SUNDRIES
Supply and fit stainless shelving, 900mm wide x 2200mm high x 450mm deep, shelves must be 300mm apart | No | 15
COMPLIANCE
Allow prepare and test and commission the unit and issue commission certificate by the qualified technician with trade test(unit should include all fitting in order to issue commissioning certificate)
Supply certificate of compliance (COC) for electrical in completion | Item | 1
The unit should be installed by qualified refrigeration technician and electrical work should be done by qualified electrician, air con technician with artisan certificate and or electrician with license should be provided before installation, as per mandatory table
Carried to Summary
BILL NO 14
TB LAB
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
813mm x 20232mm high timber door | No | 3
Existing melamine workstation benches at various widths including steel frame including under counter cupboards | m | 30
800mm x 800mm pin board | No | 4
Fluorescent LIght fittings including holder | No | 11
Melamine cupboards | No | 5
Sink incl mixer | No | 1
Basins | No | 1
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 60
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internally painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 150
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 60
Taking out and removing sanitary fittings, including disconnecting piping from fittings and making good floor and wall finishes
Wash hand Basin incl mixer | No | 4
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 20
CARPENTRY AND JOINERY
Work Benches
Steel powder coated square tubing frames 32mm x 600mm wide x 750mm on standing height as per specification | m | 10
Edged 25mm thick x 700mm wide long maxcompact resistance white top | m | 10
Steel powder coated square tubing frames 32mm x 800mm wide x 750mm on standing height as per specification | m | 15
Edged 25mm thick x 800mm wide long maxcompact resistance white top | m | 15
Steel powder coated square tubing frames 32mm x 900mm wide x 750mm on standing height as per specification | m | 5
Edged 25mm thick x 900mm wide long maxcompact resistance white top | m | 5
Under bench Cupboards
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 10
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with drawers lockable as per specification | No | 5
Wall mounted Cupboards
Steel powder coated wall mounted cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 5
CELINGS, PARTITIONS
Gypsum partitions with two layers of 12,5mm thick board cladding on both sides and filled in with 25mm thick glasswool insulation in blanket form with a density of not less than 32kg/m²
Partitions 2m high with bottom and top tracks plugged | m | 60
FLOOR COVERINGS,WALL LININGS,ETC
Classic mystique PUR vinyl sheeting with welded joints (Maintainance free) as per specification. Vinyl sheeting to go up 120mm high against walls including cove fillet and capping | m2 | 60
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 4
Door Stops
Union or similar approved buffered door stop | No | 4
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable single door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 4
PLUMBING AND DRAINAGE
Basin
Supply and fit new ceramic hand wash basin including cobra swivel mixer taps connect to hot and cold water supply and drainage basin must be half way sunken in to stone type top | No | 3
Supply and fit 32mm x 600mm stone type mable top granite on support stand heavy duty wallmounted steel brackets and 50mm chrome legs | No | 3
Supply and fit 32mm x 250mm side cover stone type mable (granite) | No | 3
Sink
Supply and fit new stainless steel sink including cobra swivel mixer taps connect to hot and cold water supply and drainage basin must be fully sunken in to stone type top | No | 2
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 150
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 20
ELECTRICAL
Light Fittings
1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 8
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 40
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 20
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 10
MECHANICAL
Mounted fan filter unit equiped with three stage filtration system i.e. primary plated filter, carbon filter and a suitably sized double inlet centrifugal fan unit must consist of an extraction | No | 1
SUNDRIES
Frosting
Window Film Self Adhesive Peel and Stick Tint - frost | m2 | 20
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 20
Carried to summary
BILL NO 15
CD 4 LAB
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
813mm x 20232mm high timber door | No | 1
Existing melamine workstation benches at various widths including steel frame including under counter cupboards | m | 20
800mm x 800mm pin board | No | 2
Fluorescent LIght fittings including holder | No | 6
Melamine cupboards | No | 5
Sink incl mixer | No | 1
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 30
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internally painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 80
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 30
Taking out and removing sanitary fittings, including disconnecting piping from fittings and making good floor and wall finishes
Wash hand Basin incl mixer | No | 1
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 10
CARPENTRY AND JOINERY
Work Benches
Steel powder coated square tubing frames 32mm x 800mm wide x 750mm on standing height as per specification | m | 15
Edged 25mm thick x 800mm wide long maxcompact resistance white top | m | 15
Steel powder coated square tubing frames 32mm x 900mm wide x 750mm on standing height as per specification | m | 5
Edged 25mm thick x 900mm wide long maxcompact resistance white top | m | 5
Under bench Cupboards
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 5
Steel powder coated under bench cupboards 800mm high x 500 wide x 500mm deep with drawers lockable as per specification | No | 3
Wall mounted Cupboards
Steel powder coated wall mounted cupboards 800mm high x 500 wide x 500mm deep with 2 doors, shelves and lockable casters as per specification | No | 5
CEILINGS, PARTITIONS AND ACCESS FLOORING
600mm x 600mm x 15mm "Gyproc celotex white"pre- painted acoustic panels or similar approved product on exposed suspension grid system including hangers necessary hold-down clips and wedges
Ceilings suspended not exceeding 1m below co | m2 | 60
FLOOR COVERINGS,WALL LININGS,ETC
Classic mystique PUR vinyl sheeting with welded joints (Maintainance free) as per specification. Vinyl sheeting to go up 120mm high against walls including cove fillet and capping | m2 | 60
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 2
Door Stops
Union or similar approved buffered door stop | No | 2
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable single door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
Powder coated glass top aluminium panel bottom stable double door prehung in frame 900mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
PLUMBING AND DRAINAGE
Basin
Supply and fit new ceramic hand wash basin including cobra swivel mixer taps connect to hot and cold water supply and drainage basin must be half way sunken in to stone type top | No | 1
Supply and fit 32mm x 600mm stone type mable top granite on support stand heavy duty wallmounted steel brackets and 50mm chrome legs | No | 1
Supply and fit 32mm x 250mm side cover stone type mable (granite) | No | 1
Sink
Supply and fit new stainless steel sink including cobra swivel mixer taps connect to hot and cold water supply and drainage basin must be fully sunken in to stone type top | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 150
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 20
ELECTRICAL
Light Fittings
1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 4
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 15
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 5
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 10
MECHANICAL
Mounted fan filter unit equiped with three stage filtration system i.e. primary plated filter, carbon filter and a suitably sized double inlet centrifugal fan unit must consist of an extraction | No | 1
SUNDRIES
Frosting
Window Film Self Adhesive Peel and Stick Tint - frost | m2 | 20
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 20
Carried to summary
BILL NO. 16
MALE AND FEMALE TOILETS
ALTERATIONS (PROVISIONAL)
REMOVAL OF EXISTING WORK
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing sanitary fittings and vanity, including disconnecting piping from fittings and making good floor and wall finishes
Wash hand Basin incl mixer | No | 1
Cistern | No | 2
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
floor covering including preparing screed for new porcelain tile etc (new finish elsewhere measured) | m2 | 10
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Ceremic tile covering including preparing walls for new tile etc (new finish elsewhere measured) | m2 | 5
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 20
Hacking up/off and removing painting, mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Underside of soffits of slab | m2 | 10
TILING
PORCELAIN FLOOR COVERINGS, WALL LINNINGS, ETC
Porcelain floor tiling
600mm x 600mm x 12mm full bodied porcelain tiles laid TAL gold star tile adhesive or similar approved product, white grout and soft joints of 3mm raked clean of the tile adhesive and filled with polyurethane sealant (grey colour). Allow for the prime cost amount of R 500-00 (Five hundred rand excluding VAT) net per square metre for tiles, supplied and delivered to site and add for taking delivery, storage and installation.
On screeded floors | m2 | 10
600mm x 600mm x 12mm full bodied porcelain tiles laid TAL gold star tile adhesive or similar approved product, white grout and soft joints of 3mm raked clean of the tile adhesive and filled with polyurethane sealant (grey colour). Allow for the prime cost amount of R 500-00 (Five hundred rand excluding VAT) net per square metre for tiles, supplied and delivered to site and add for taking delivery, storage and installation.
On Walls full height | m2 | 50
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 2
Door Stops
Union or similar approved buffered door stop | No | 2
Cabin hooks
Union approved or similar approved cabin hook | No | 2
Letters,Nameplates
75 x 150mm high aluminium toilet sign with MALE and/or FEMALE figure screwed to wall. | No | 2
Toilet fittings
Toilet Roll holder
Franke 145mm x 75mm polished stainless steel toilet roll holder or any similar approved product | No | 2
Bin
Franke 18 L Wall mounted stainless steel bin | No | 2
Paper towel dispensor
Franke stainless steel folded towel dispensor | No | 2
PLUMBING AND DRAINAGE
Basin
Supply and fit new ceramic hand wash basin including cobra swivel mixer taps connect to hot and cold water supply and drainage basin must be half way sunken in to stone type top | No | 2
Supply and fit 32mm x 600mm stone type mable top granite on support stand heavy duty wallmounted steel brackets and 50mm chrome legs | No | 2
Supply and fit 32mm x 250mm side cover stone type mable (granite) | No | 2
Cistern
Supply and fit new ceramic urinal including separator connect to existing water and drain | No | 2
GLAZING
TOPS,SHELVES,DOORS,MIRRORS,ETC
Mirror 500mm x 400mm high including four CP screw caps plugged to wall | No | 2
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment
Underside soffits of slabs | m2 | 60
PAINT ON METAL
Remove all teraces of protective coating from galvanised surfaces with galvanised iron cleaner, prepare and apply one coat "plascon universal"undercoat and two coats "plascon non-drip enamel or similar approved product
Steel windows | m2 | 10
PAINT ON WOOD
Prepare, stop and apply one coat pink wood primer, one coat universal undercoat and two coats "plascon'non drip enamel or similar approved products:
Timber Doors and frames | m2 | 2
CARPENTRY AND JOINERY
Doors
813mm x 2032mm timber door including hinges and indicator bolt | No | 2
ELECTRICAL
Light Switches
Replace existing light switches in the exact positions with classic 6 lever steel switches | No | 2
Supply and install 4t waterproof light fittings as per specification | No | 2
MECHANICAL
Spply and install 12 inch industrial window extractor fan to the toilet connected to the light switch | No | 2
SUNDRIES
Vertical blinds
Vertical blinds made of vertically-hanging louvres, held together at the top by a headrail that the louvres slide along by means of moving trucks, all of which are joined at the bottom of the blind by a connecting chain. | m2 | 10
Carried to Summary
BILL NO 17
PASSAGE
ALTERATIONS (PROVISIONAL)
Allow for protecting all existing work liable to suffer damage (i.e) Walls, finishes, floors, windows, joinery fittings, etc) from damage during the building operations,alterations, etc and make good all work damaged with new material damaged to match existing to the approval of the Project Manager | Item
Taking out and removing
Taking out and removing doors, windows, etc, including thresholds, sills etc and store (building up openings and making good finishes measured elsewhere)
1600 x 12032mm Timber double doors including ironmongery | No | 1
Fluorescent lIght fittings including holder | No | 10
Hacking up/off and removing floor coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Vinyl tile floor covering including preparing screed for new vinyl sheeting or tile etc (new finish elsewhere measured) | m2 | 300
Hacking up/off and removing wall coverings mortar bed or adhesive from concrete brickwork and preparing, surfaces for new screed, plaster,tile finish, etc
Internal painted walls and ceilings, and preparing, surfaces for new paint finish etc (new finish elsewhere measured) | m2 | 600
Hacking up/off and removing ceiling, surfaces for new T ceiling elsewhere measured, etc
Ceilings | m2 | 300
MAKING GOOD OF FINISHES,ETC
Making good internal cement plaster 1:4
Walls in patches (Provisional) | m2 | 20
FLOOR COVERINGS,WALL LININGS,ETC
Classic mystique PUR vinyl sheeting with welded joints (Maintainance free) as per specification. Vinyl sheeting to go up 120mm high against walls including cove fillet and capping | m2 | 300
IRONMONGERY
Door closers
Overhead door closer Dorma or similar approved | No | 1
Door Stops
Union or similar approved buffered door stop | No | 1
METALWORK
ALUMINIUM WINDOWS, DOORS ETC
Doors
Powder coated glass top aluminium panel bottom stable double door prehung in frame 1800mm x 2100mm, open in wards, 6mm frosted glass with NHLS logo, EDH lever handle includes lock and colour matched handles, hinges suitable for coastal and inland installation | No | 1
PAINTWORK
PAINTWORK ON FLOATED PLASTER
Paintwork, etc to previously painted work
Prepare and paint walls with plascon velvaglo or similar to, 2 coats as per specification colour will be confirmed upon appointment | m2 | 120
CEILINGS, PARTITIONS AND ACCESS FLOORING
600mm x 600mm x 15mm "Gyproc celotex white"pre- painted acoustic panels or similar approved product on exposed suspension grid system including hangers necessary hold-down clips and wedges
Ceilings suspended not exceeding 1m below co | m2 | 300
ELECTRICAL
Light Fittings
Supply and install 1200mm x 600mm x 3 energy saver tube light fittings with chrome reflectors allow for wiring5amp plug point at each light fitting with single lever light switch | No | 20
Power skirting
Supply and fit 2 compartment type metal powder coated power skirting, allow for bends and caps as per specification | m | 10
Surface mounted to the wall
Supply and fit 15amp standard power skirting plug points wire from distribution board to prevent overloading including circuit breakers and wiring as per specification | No | 5
Fitted to the power skirting
Supply and fit 15amp standard power skirting red/dedicated plug points, wire from distribution board and generator to prevent overloading including circuit breakers and wiring as per specification | No | 2
Carried to summary
BILL NO 18
EXTERNAL WORKS
EARTHWORKS
Site Clearance
Clear site of all trees, shrubs, vegetation rubbish etc and unwanted surplus material | m2 | 60
Excavation
Excavate in earth for stub columns, design detail to issued at a later stage | No | 20
CONCRETE, REINFORCEMENT ETC
Reinforced Stub columns
25mpa, reinforced concrete stub column including reinforcement, formwork casted to a height of not more than 300mm high. | No | 10
Reinforced concrete platform
25mpa, reinforced concrete platformconsisting of, formwork casted to a height of not more than 150mm high. | m2 | 20
PREBRICATED STRUCTURE
Supply, deliver and install a 42m2 block home prefabricated structure consisting of 75mm x 50mm welded rectangle tube frame structure, exterior walls formed of 0,5mm colorplus IBR sheeting and flashing and moisture board internally. The interior floors to consist of fiber cement with a composite decking outside landing area. All walls to be insulated with 63mm cavity batt, with roof insulated with a 100mm ISO therm. Ceiling to be formed of 40mm ISO foam. All aluminium doors to be low E glazing. Including DB board fitted with downlights and plugs in all areas. Unit should include kitchen cabinets and fittings 30L geyser, sanitaryware, tiled bathroom lounge furniture, and dining room furniture and cabinets | No | 1
BILL NO 19
WASTE AREA
CONCRETE SLAB
EARTHWORKS (PROVISIONAL)
Site Clearance
Digging up and removing rubbish, debris, vegetation, hedges, shrubs, bush, etc and trees not exceeding 200mm girth | m2 | 20
Excavation in earth for semi basement
Not exceeding 100mm deep | m3 | 10
Extra over bulk excavations in earth for excavation in
Soft rock | m3 | 6
Hard rock | m3 | 4
Extra over all excavations for carting away
Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 3
Keeping excavations free of water
Keeping excavations free of water other than subterranean water | Item | 1
COMPACTION
Compaction of ground surfaces
Compaction of excavated ground surface under slabs etc by wetting and compacting with a vibratory roller | m2 | 20
CONCRETE, FORMWORK AND REINFORCEMENT
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
10MPa/19mm concrete
Surface blinding under surface beds | m3 | 5
REINFORCED CONCRETE CAST ON/IN FORMWORK
25MPa/19mm concrete
Surface beds cast in panels on waterproofing | m3 | 5
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
25MPa/19mm concrete
Surface beds cast in panels on waterproofing | m3 | 5
TEST CUBES
Making and testing 150 x 150 x 150mm concrete strength test cube (Provisional) | No | 5
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a wood float
Surface beds, slabs, etc to falls | m2 | 20
ROUGH FORMWORK (DEGREE OF ACCURACY III)
Rough formwork to sides
Floor slabs not exceeding 350mm hi (Provisional) | m | 20
REINFORCEMENT
REINFORCEMENT (PROVISIONAL)
Mild steel reinforcement to structural concrete work including bends fastners
10mm Diameter bars | t | 0.3
WATERPROOFING TO SEMI BASEMENTS
3.7mm DPC plastic laid under surface beds | m2 | 30
Carried to Summary
BILL NO 20
JOJO TANK
EARTH WORK AND CONCRETE WORK
Digging up and removing rubbish, debris, vegetation, hedges, shrubs and trees not exceeding 200mm girth, bush, etc., Stripping average 150mm thick layer of top soil and stockpiling on site.
Prepare and cast 25mpa concrete slab 300mm high x3000mmx3000mm concrete complete with Mesh Ref 193 (200mmx200mm) to accommodate 10000L of water tank | Item | 1
PLUMBING WORK
Supply and fit 10000L grey JOJO or similar water tank complete with all connection, including pressure valve, control valve, non-return valve and ball valve | No | 1
Supply and fit new (10000L/h) water pump complete with Fully Assembled Water Pump Pressure Booster kit 0.37kw for JoJo tanks 220V connect to the water supply complete with electrical connection and isolator, with an anti-theft cage for pump | No | 1
Supply and fit new 8-Stage Reverse Osmosis Water Filter with connected to the booster pump and pressure tank: High-quality advance water filtration system for the laboratory use | No | 1
Allow for all connection using 22mm poly pipe, complete with all joints and connection to supply water to the main supply NHLS laboratory(( allow removal of paving and relaying for 16m for water tank to the building)
22mm polycop pipes | m | 10
Allow for 15mm class 1 copper pipe, complete with all joints, NON return valve and connection to supply water to only NHLS laboratory space | No | 3
Supply and fit new ceramic hand wash basins including taps, connect to hot and cold water supply and drainage on ceramic pedestal( to lab, gent and ladies) this should be connected separately direct from water tank) | No | 3
Remove the existing toilets, side flush cistern, and cart away ,Supply and fit new Ceramic toilet including cistern, toilet paper holder, toilet seat, connect to existing water and drain( to ladies and gent) this should be connected separately direct from water tank | No | 1
Allow for supply and installation of new line, water tap, complete with valves and 2x addition water supply with shutter valves for instrument connection and future use(this should be connected separately direct from water tank) | Item | 1
STEELWORKS
Supply and fit new 3800mm high steel cage with 32mm expanded mesh, on 76mmx76mm square tubing 3200mm widex3200m long with 32mm square support and 1000mm wide x2.0m high steel gate complete with pad lock set | Item | 1
PAINTWORK
Prepare and paint one coat of red primer and two coats of non-quick drying(NON-QD) (G13) battleship grey enamel paint as per specification
ELECTRICAL WORK
Supply and fit 40 Amp D/P isolator at each air con, fed from distribution board with curve 1- 30amp three phase pole circuit breakers. Allow for 80m cabling, and conduit.
Cartried to Summary

## Sheet1 (hidden)
Note: All dimensions to be checked on site prior to construction. Clear silicone joints between door frames and brickwork. Aluminium frames shall be factory wrapped in protective plastic covering and shall be removed once building works are complete

## Summary
ITEM NO | SUMMARY | BILL NO | Amount
1 | SPECIMEN RECEPTION & DR'S COMPUTER AREA | BILL NO 01
2 | ARCHIVE ROOM | BILL NO 02
3 | ADMINISTRATION OFFICE | BILL NO 03
4 | PATHOLOGIST OFFICE | BILL NO 04
5 | DATA CAPTURE OFFICE | BILL NO 05
6 | BOARD ROOM | BILL NO 06
7 | MAIN LAB | BILL NO 07
8 | TOILET - WASH AREA | BILL NO. 08
9 | WASH AREA - NEW TOILET | BILL NO. 09
10 | LADIES - NEW OFFICE | BILL NO 10
11 | TEA ROOM - STORAGE | BILL NO 11
12 | STORAGE | BILL NO 12
13 | SUPERVISOR OFFICE-WALKIN FRIDGE | BILL NO. 13
14 | TB LAB | BILL NO 14
15 | CD 4 LAB | BILL NO 15
16 | MALE AND FEMALE TOILETS | BILL NO. 16
17 | PASSAGE | BILL NO 17
18 | EXTERNAL WORKS | BILL NO 18
19 | WASTE AREA | BILL NO 19
20 | JOJO TANK | BILL NO 20
| Allow the amount of R 250 000-00 for contingency to be used at the discretion of the Project manager and dedicated in whole or in part if not required |  | 250000
| Test pressure and commision (issue plumbing certificate (COC) | Item
| Issue electrical certificate of compliance (COC) on completion | Item
| Issue handover pack manual on completion | Item
Sub Total (Excl Vat)
Vat @ 15%
Carried to Tender (Incl of Vat)